## Sheet1
Inspection Certificate
Instrument Type | Micro CTD
Serial Number | 11544
Sales Order | 35307
Checked by | ST
X Checked by | KS
Date | Nov-14-2016
Clock Battery | 3.04 | V
Battery | NA | V
Current | 158.7 | mA
| Instrument | Standard
Sound Velocity | NA | NA | m/s
Pressure | .11 | .102 | dBar
Conductivity | 46.860 | 46.8564 | mS/cm
Temperature | 21.102 | 21.099 | deg C
Turbidity | NA | NA | NTU