## Slide 1
OASIS: 48.79° N, 2.44° E, 56 m a.s.l.
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
Réunion OCAPI/UPMC, France
18 septembre 2017
B. Tournadre1, P. Chelin1, M. Ray1, J. Cuesta1, X. Landsheere1, A. Fortems-Cheiney1, G. Dufour1, J.-M. Flaud1, F. Hase2, T. Blumenstock2, J. Orphal2, C. Clerbaux3, C. Viatte3, and C. Camy-Peyret3
LISA, Université Paris-Est Créteil
1LISA, Paris/Créteil, France
2KIT, Karlsruhe, Germany
3LATMOS, Paris, France

## Slide 2: Why studying ammonia (NH3) ?
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
Introduction

## Slide 3: Why studying ammonia (NH3) ?
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
Introduction
Nitrogen cycle
Eutrophication and acidification of terrestrial and aquatic environments
Loss of biodiversity
 Monitor reactive nitrogen Nr flux with measurements

## Slide 4: Why studying ammonia (NH3) ?
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
Introduction
Nitrogen cycle
Eutrophication and acidification of terrestrial and aquatic environments
Loss of biodiversity
 Monitor reactive nitrogen Nr flux with measurements
Particulate pollution
Reaction with H2SO4 or HNO3
Production of ammonium salts (PM2.5)
Constrain air quality models
(errors > 100%) with measurements

## Slide 5
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
Measurements of NH3
In situ measurements of NH3
In situ measurements techniques are often prone to sampling artefacts (von Bobrutzki et al. 2010)
MetNH3 group “Metrology for Ammonia in Ambient Air” (metnh3.eu)
Aircraft measurements
‘off-axis ICOS’ (Leen et al. 2013)
→ NH3 lifetime : hours to days
→ Very few in situ continuous measuring stations
→ Lack of detailed information on its vertical distribution
NH3 is challenging

## Slide 6
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
Measurements of NH3
TES/Aura: first FTIR satellite measurements of NH3 (Beer et al. 2008, Shephard et al. 2011, Sun et al. 2015)
IASI/MetOp: FTIR, Nadir measurements (Clarisse et al. 2009, Van Damme et al. 2013 & 2015…)
AIRS/Aqua: grating spectrometer (Warner et al. 2016)
CrIS/Suomi: Nadir measurements (Dammers et al. 2017)
MIPAS: Limb measurements (Höpfner et al. 2016)
NDACC: Ground-based FTIR measurements at high resolution: Bremen, Lauder (NZ), Réunion Island, Jungfraujoch (Switzerland) (Dammers, 2015 & 2016)
i
Measurements of NH3 by remote-sensing
NH3 is challenging

## Slide 7
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
Measurements of NH3
TES/Aura: first FTIR satellite measurements of NH3 (Beer et al. 2008, Shephard et al. 2011, Sun et al. 2015)
IASI/MetOp: FTIR, Nadir measurements (Clarisse et al. 2009, Van Damme et al. 2013 & 2015…)
AIRS/Aqua: grating spectrometer (Warner et al. 2016)
CrIS/Suomi: Nadir measurements (Dammers et al. 2017)
MIPAS: Limb measurements (Höpfner et al. 2016)
NDACC: Ground-based FTIR measurements at high resolution: Bremen, Lauder (NZ), Réunion Island, Jungfraujoch (Switzerland) (Dammers et al., 2015 & 2016)
Bremen DOFs= 1.9
i
Measurements of NH3 by remote-sensing
NH3 is challenging

## Slide 8
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
Measurements of NH3
TES/Aura: first FTIR satellite measurements of NH3 (Beer et al. 2008, Shephard et al. 2011, Sun et al. 2015)
IASI/MetOp: FTIR, Nadir measurements (Clarisse et al. 2009, Van Damme et al. 2013 & 2015…)
AIRS/Aqua: grating spectrometer (Warner et al. 2016)
CrIS/Suomi: Nadir measurements (Dammers et al. 2017)
MIPAS: Limb measurements (Höpfner et al. 2016)
NDACC: Ground-based FTIR measurements at high resolution: Bremen, Lauder (NZ), Réunion Island, Jungfraujoch (Switzerland) (Dammers et al., 2015 & 2016)
Bremen DOFs= 1.9
Mid-resolution?  OASIS
Measurements of NH3 by remote-sensing
NH3 is challenging

## Slide 9
First multi-year ground-based measurements of NH3 total columns over the Paris
region (France), from the OASIS FTIR solar observatory
OASIS observatory over the Paris region
Paris region = 12 million people megacity
+ a large rural area
Light green: fields
Dark green: woods
DRIAAF/ SRISE, january 2011

## Slide 10
First multi-year ground-based measurements of NH3 total columns over the Paris
region (France), from the OASIS FTIR solar observatory
OASIS observatory over the Paris region
Paris region = 12 million people megacity
+ a large rural area
Light green: fields
Dark green: woods
DRIAAF/ SRISE, january 2011
OASIS observatory

## Slide 11
elevation
azimut
Sun-tracker
A547/N
FTIR Bruker
Vertex 80
□ Sun tracker with a quad cell photodiode (BRUKER A547/N)
□ Fourier-transform InfraRed spectrometer BRUKER Vertex 80 with medium spectral resolution (0.06 cm-1) (MOPD = 12 cm)
□ Large spectral domain of measurement (700-11000 cm-1/
0.9-14.3 µm) using KBr beamsplitter and DTGS detector at ambient temperature
First multi-year ground-based measurements of NH3 total columns over the Paris
region (France), from the OASIS FTIR solar observatory
OASIS observatory over the Paris region

## Slide 12
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
NH3-OASIS measurements
Major interfering species: H2O, CO2, O3
Minor ones: HNO3, SF6, C2H4, CFC-12
2012/03/21
Micro-window 1 : 926.30-933.90 cm-1

## Slide 13
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
NH3-OASIS measurements
Major interfering species: H2O, CO2, O3
Minor ones: HNO3, SF6, C2H4, CFC-12
2012/03/21
Micro-window 2 : 962.50-970.00 cm-1

## Slide 14
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
NH3-OASIS measurements
Major interfering species: H2O, CO2, O3
Minor ones: HNO3, SF6, C2H4, CFC-12
→ Strong spectral signatures of NH3 in OASIS spectra

## Slide 15
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
NH3-OASIS measurements
NH3-OASIS error : from 20% to 30 %
Dominated by spectroscopic parameters errors (using: 20% error on absorption intensity and 10% error on line broadening as Dammers et al. 2015)
→The NH3-OASIS error depends on total column value.

## Slide 16
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
NH3-OASIS measurements
NH3-IASI error above 50%

## Slide 17
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
NH3-OASIS measurements
Correlation with NH3-IASI

## Slide 18
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
NH3-OASIS measurements
→ Correlation and slope close to those obtained between IASI and NDACC-Bremen (Dammers et al. 2016).
Correlation with NH3-IASI

## Slide 19
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
Variability of NH3-OASIS
Seasonal variability
4000 total columns and 190 days

## Slide 20
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
Variability of NH3-OASIS
Seasonal variability
Ammonia peaks in March
4000 total columns and 190 days

## Slide 21
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
Variability of NH3-OASIS
Seasonal variability
Ammonia peaks in March
4000 total columns and 190 days

## Slide 22
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
Variability of NH3-OASIS
Seasonal variability
Ammonia peaks in March
4000 total columns and 190 days

## Slide 23
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
Variability of NH3-OASIS
Seasonal variability
Ammonia peaks in March
4000 total columns and 190 days

## Slide 24
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
Variability of NH3-OASIS
Seasonal variability
Ammonia peaks in March
4000 total columns and 190 days

## Slide 25
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
Variability of NH3-OASIS
Seasonal variability
Ammonia peaks in March
4000 total columns and 190 days

## Slide 26
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
Variability of NH3-OASIS
Seasonal variability
Ammonia peaks in March
High values in summer
4000 total columns and 190 days

## Slide 27
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
Variability of NH3-OASIS
Seasonal variability
Ammonia peaks in March
High values in summer
4000 total columns and 190 days

## Slide 28
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
Variability of NH3-OASIS
Seasonal variability
Ammonia peaks in March
High values in summer
(Dammers et al. 2016).
4000 total columns and 190 days

## Slide 29
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
Conclusions
First time series of NH3 total columns over the Paris region
Similarity between OASIS and NDACC-Bremen measurements
Preliminary validation with IASI
NEXT :
Complete the time series with 2009 and 2010 data
Sensitivity to NH3 a priori profile
Compare NH3-OASIS with CrIS satellite NH3 columns at 13:30 local time
Study sources and processes with chemistry-transport models
OASIS
48.79° N, 2.44° E, 56 m

## Slide 30
First multi-year ground-based measurements of NH3 total columns over the Paris region (France), from the OASIS FTIR solar observatory
Conclusions
OASIS
48.79° N, 2.44° E, 56 m
Thanks for your attention and questions (?)
Photo credits : UPEC / Delphine Chapuis