## Slide 1: TCCON MEASUREMENTS IN THE PARIS MEGAPOLIS
Dmitry Koshelev, Yao Té, Pascal Jeseck, Irène Xueref-Remy,
François Ravetta and Christof Janssen
Notes: TCCON network & approach has been developed for remote sites. How does it work in a urban area ?

## Slide 2: TCCON: FTS-Paris instrument
SunTraker
FTIR Spectrometer - Bruker 125HR Resolution: 0.019 cm-1 (OPD = 45 cm)

## Slide 3
Fixed mirror
Beamsplitter
Movingmirror
Detector
SunTraker
FTIR Spectrometer - Bruker 125HR Resolution: 0.019 cm-1 (OPD = 45 cm)
TCCON: FTS-Paris instrument
Notes: In order to retrieve correct values of gases concentration we need to keep instrument in good alignment all of the time

## Slide 4: TCCON: FTS-Paris instrument
Fixed mirror
Beamsplitter
Movingmirror
Detector
SunTraker
FTIR Spectrometer - Bruker 125HR Resolution: 0.019 cm-1 (OPD = 45 cm)
Notes: In order to retrieve correct values of gases concentration we need to keep instrument in good alignment all of the time

## Slide 5: Gas concentration retrieval
Radiance at ground level
Radiance at top atmosphere
Atmospheric transmission
Atmospheric transmission contains all information about gas abundances
concentration
Notes: In order to retrieve GHG concentrations, FTIR spectra have to be analyzed by means of the inversion theory.

## Slide 6
GFIT code
GFIT – nonlinear least-squares fitting algorithm used by all TCCON sites
GFIT computes column abundances from the solar absorption spectra.
H2O micro window
CO2 micro window
Full spectra (2500 - 14000 cm-1)
Notes: a) explique utilisation en TCCON
b) point ce que tu as fait
This is a real measured specta. To retrieve abundances of the gases from it we are using a software GFIT.
Gfit – spectra fitting program. It is used by all TCCON sites to determine the abundances of atmospheric trace gases from infrared absorttion specta
GFIT is nonlinear least squares fitting algorithm used to analyze solar absorption spectra on the basis of inversion methods.

## Slide 7
Analysis of a solar absorption spectrum tells us about total columns of various absorbing gases.
Total column of gas G:
– volume mixing ratio profile of gas G
air density profile
What we need are dry-air mole fractions - XG because they are independent of variation of solar zenith angle, surface pressure and humidity.
Dry air mole fraction (DMF)

## Slide 8
Dry air mole fraction (DMF)
O2 as an internal standard; DMF of O2 is 0.2095 (constant)
Advantage: column division removes Sun pointing error

## Slide 9: GFIT code in urban area?
GFIT has been developed for all TCCON sites
Two sites in urban area: Paris and Los Angeles
How does it work in a urban area?

## Slide 10
GFIT: a priori profiles of CO2
The GFIT algorithm scales an a priori profile to generate the best spectral fit and integrates the scaled profile to compute the column abundances
– volume mixing ratio scale factor of gas G.
GFIT a priori profile of CO2
Notes: To create a theoretical spectra we are using a priori profiles

## Slide 11
The GFIT algorithm scales an a priori profile to generate the best spectral fit and integrates the scaled profile to compute the column abundances
Sensitivity of GFIT to a priori
Notes: This is a real measured specta. To retrieve abundances of the gases from it we are using a software GFIT.
Gfit – spectra fitting program. It is used by all TCCON sites to determine the abundances of atmospheric trace gases from infrared absorttion specta
GFIT is nonlinear least squares fitting algorithm used to analyze solar absorption spectra on the basis of inversion methods.

## Slide 12
Modified a priori profiles
In situ CO2 vs a priori GFIT ground value
Set of a priori profiles

## Slide 13
Set of a priori profiles
Comparison of XCO2 retrieved with different profiles
Modified a priori profiles

## Slide 14
Profile | χ2
Standard (412) | 2.65288E-5
390 | 2.66659E-5
400 | 2.65995E-5
410 | 2.65395E-5
420 | 2.64856E-5
430 | 2.64378E-5
440 | 2.6396E-5
450 | 2.63603E-5
460 | 2.63305E-5
470 | 2.63066E-5
480 | 2.62886E-5
490 | 2.62763E-5
500 | 2.62698E-5
510 | 2.62689E-5
520 | 2.62737E-5
Modified a priori profiles: residue

## Slide 15
LIDAR – Height of Planetary Boundary Layer
PBL
In situ
GFIT a priori profiles including ABL

## Slide 16
GFIT a priori profiles including ABL
GFIT modified a priori profiles
In situ CO2
Profile | χ2
Standard | 2.65288E-5
440 | 2.63591E-5
460 | 2.63092E-5
480 | 2.63141E-5

## Slide 17
Study impact of polluted boundary layer
Selected days: 20/01/2016 and 18/04/2016 and two summer days are pending
ABL: about 200m
ABL: 600m @08:00 1300m @10:00 1800m @14:00
Next steps
Notes: 1. Study impact of polluted boundary layer
2. Compare TCCON approach (apriori) with polluted boundary layer situation in case studies
3. Strategies to develop for TCCON

## Slide 18
THANK YOU

## Slide 19
Selected days: 20/01/2016 and 18/04/2016 and two summer days are pending.
Next steps
Air mass movement for selected days

## Slide 20
Paris TCCON data 09/2014 – 11/2016
Other molecules: HF, H2O, HDO
Notes: This is a real measured specta. To retrieve abundances of the gases from it we are using a software GFIT.
Gfit – spectra fitting program. It is used by all TCCON sites to determine the abundances of atmospheric trace gases from infrared absorttion specta
GFIT is nonlinear least squares fitting algorithm used to analyze solar absorption spectra on the basis of inversion methods.